Information Regarding Ground Loops

A ground loop is a visible electrical pattern that occurs when an AC current interferes with the ground reference level of the video signal. It occurs  on the conductive path formed by the shield of the video cable and the chassis of the video equipment. A loop results from the difference between the voltage potential of the shield at one end of the cable, versus the voltage potential of the shield at the other end. A ground loop commonly appears as distorted horizontal bars passing through the screen.

The electrical level of the shield is usually zero volts. When a ground loop is present, this level fluctuates above and below zero volts. The greater the difference, the more severe the distortion or tearing. If the potential is too great it can damage the equipment.

Ground loops are an after-the-fact problem in which the end-user blames the installer, the installer blames the manufacturer, and actually nobody is at fault. Neither the manufacturer nor the installer can predict where a loop will occur. Only after the system is installed can it be determined if a ground loop problem exists.

Ground loop problems can be corrected. It is important for both the dealer and the end-user to be aware that this problem can occur. A ground loop problem may occur at several points in the system, and each occurrence of the problem must be corrected individually. Loops can occur between a camera and monitor, from a camera to a switch, or one of many other possibilities.

Generally a ground loop isolator such as a GL-100 is the most effective and easy solution to any ground loop problem. If, in rare instances, some ground loops are still present after installation, it may indicate that there is more than one source and further investigation is required.

Not all ground loops show up as picture disturbances. Erratic or strange behavior of other devices can be traced to grounding problems. Remember, wires or connections labeled "common" or "neutral" are not mechanical ground connections even though they may be grounded within the equipment. Each should be treated as a separate wire and not allowed to touch ground or each other.

Possible Causes

A ground loop can occur when devices in a system are not connected to the same electrical ground as the other devices (i.e. camera mounting, camera power, DVR, monitor, etc.). This can create a voltage potential difference between "ground" on the pieces of equipment. Ground loops can occur between cameras connected to multi-output power supply with a common path to ground if one or more of the cameras have an additional connection to ground.

by Ascendent Technology Group